## Groundwater Level
ID | Date and Time | Parameter | Value | Unit | Methodology
As recorded in the original database. | The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss). | One of the following: • Water depth [from the ground surface] • Water depth [from the top of the well] • Water level elevation a.m.s.l. | The numeric value of the measurement. | Unit must be either: • m • ft | Explain the methodology used to collect the data, in the field and eventually in the lab.
NWP40001 | 2022-01-25 13:50:00 UTC | Water depth [from the ground surface] | 7.38 | m
NWP40001 | 2022-01-25 13:50:00 UTC | Water depth [from the ground surface] | 7.38 | m
NWP40001 | 2018-08-14 00:00:00 UTC | Water depth [from the ground surface] | 9.17 | m
NWP40001 | 2016-12-27 00:00:00 UTC | Water depth [from the ground surface] | 8.63 | m
NWP40001 | 2016-05-31 00:00:00 UTC | Water depth [from the ground surface] | 8.54 | m
NWP40001 | 2016-04-14 00:00:00 UTC | Water depth [from the ground surface] | 8.21 | m
NWP40001 | 2016-01-29 00:00:00 UTC | Water depth [from the ground surface] | 7.53 | m
NWP40001 | 2015-12-29 00:00:00 UTC | Water depth [from the ground surface] | 7.16 | m
NWP40001 | 2015-09-29 00:00:00 UTC | Water depth [from the ground surface] | 8.28 | m
NWP40001 | 2015-07-29 00:00:00 UTC | Water depth [from the ground surface] | 9.49 | m
NWP40001 | 2015-05-29 00:00:00 UTC | Water depth [from the ground surface] | 8.46 | m
NWP40001 | 2015-03-29 00:00:00 UTC | Water depth [from the ground surface] | 8.03 | m
NWP40001 | 2015-02-25 00:00:00 UTC | Water depth [from the ground surface] | 7.77 | m

## Groundwater Quality
ID | Date and Time | Parameter | Value | Unit | Methodology
As recorded in the original database. | The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss) | One of the following: • EC • pH • T • NO3 • Cl • Ca • Mg • Na • K • HCO3 • SO4 • TDS • FC • FS • E Coli • F • As • U • NH4 • Fe • Mn • P | The numeric value of the measurement. | One of the following: • (blank) • S/m • μS/cm • °C • °F • °K • mg/L • ppm • ng/L • μg/L • cfu per mL • cfu per 100 ml | Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID | Date and Time | Parameter | Value | Unit | Methodology
As recorded in the original database. | The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss) | One of the following: • Abstraction • Spring discharge | The numeric value of the measurement. | Unit must be either: • m³/s • m³/m • m³/h • m³/d • ft³/s • ft³/m • ft³/h • ft³/d • L/s • L/m • L/h • L/d | Explain the methodology used to collect the data, in the field and eventually in the lab.